How to connect the Lock (DS-K4E100)

to Access Controller (DS-K2604T)

How to connect the Lock (DS-K4E100) to Access Controller (DS-K2604T)

- Take off the cover of the Lock (DS-K4E100)

- Connect the lock to access controller

Note:

1) The power output power is recommended to be above 12V / 1A.

2) The DS-K4E100 is normally open (The Lock will unlock when L + / L- terminals powered), so K2600 Controller relay need configure to NO / COM output.