How to add Synology NAS to NVR

1. Background：

For the requirements of storing NVR recording to Synology NAS, we make this guidance for our users, below Synology NAS model is DS-220, NVR is DS-9632NI-I8. The configuration on other Synology NAS and Hikvision backend devices are almost the same.

2. Power on Synology NAS：

Add HDD to NA, connect the network cable, power on the NAS.

3. Configuration on NAS and NVR

3.1 Log in Synology NAS

Input NAS IP address to web browser, then input the username and password to log in the NAS.

3.2 Configure NAS

①Enable NFS

Go to Desktop/Control Panel./File Service/NFS, enable NFS service.

② Create a folder under Share Folder Path

This step is to create the storage folder to store NVR recording.

Go to Desktop/Control Panel/Share Folder, new a folder. Click next for all steps except storage capacity setting.

③ Set IP address access for NVR

The NAS share folder created in step-2 can’t be detected by NVR now. You should configure the NFS access rights for it.

④ Add the NAS to NVR

Go to NVR local GUI or log in NVR web page(take webpage as example), configure as below screenshot, then NVR video will be store to NAS.