How to configure Unattended Baggage Detection and Object Removal Detection of DF series PTZ Camera

Notes: Unattended Baggage Detection and Object Removal Detection are added to DF series PTZ Camera (only H3 and R7 platform support)

For Unattended Baggage Detection

Steps:

- Go to ConfigurationEventSmart Event Unattended Baggage Detection. Draw Area, set Threshold(s), Sensitivity, Arming Schedule and Linkage Method parameters. Enable the function and click  in the end.

- If something is left into the drawn area, it will trigger the alarm as the below picture shows:

For Object Removal Detection

Steps:

- Go to ConfigurationEventSmart Event Object Removal     Detection. Draw Area, set Threshold(s), Sensitivity, Arming Schedule and Linkage Method parameters. Enable the function and click  in the end.

- If something is removed from the drawn area, it will trigger the alarm as the below picture shows:

First Choice for Security Professionals
HIKVISION Technical Support