**K1T8003 Series Access Control Terminal V1.2.2\_build190821 Release Notes (2019-09-08)**

|  |  |  |
| --- | --- | --- |
| **Device Model:**DS-K1T8003FDS-K1T8003EFDS-K1T8003MF | Firmware Version | ACS\_1T\_J1\_EN\_GM\_V1.2.2\_build190821 |
| SDK | HCNetSDKV6.1.0.11\_build20190611 |

**Reason of Upgrade**

Add or modify functions, fix bugs, enhance products quality and meet customers’ requirements.

**New Features**

1. Improve device EHome 5.0 protocol compatibility with HCP (HikCentral Professional);
2. Improve the permission apply logic for device EHome 4.0 protocol;
3. Fix some bugs for firmware upgrading;
4. When setting Man-Hour attendance rule in local, device will automatically check time parameters (Work duration + Latest check in time+ Break duration ≤ 24 hours).

**Customer Impact and Recommended Action**

This new firmware upgrade is to improve product performance, and will take effect automatically after upgrading from previous versions. We’d like to inform you the above changes. Also, we are sorry for any possible inconvenience of use-habit changes caused by this action.

For questions or concerns, please contact our local technical support team.

Note:

* Hikvision has all rights to alter, modify and cancel this notice.
* Hikvision doesn’t give any guarantee for old models’ stock.
* Hikvision is not liable for any typing or printing errors.
* For special model’s change details, please contact our local technical support team.

Hikvision Digital Technology CO., Ltd.

No. 555 Qianmo Road, Binjiang District, Hangzhou 310052, China

Tel: +86-571-8807-5998

FAX: +86-571-8993-5635

Email: support@hikvision.com